Portable Interferometer Parts and Cost

6/14/2016 									Rick Dower

Adapted from LIGO Outreach The Magnetic Michelson Interferometer, Ewan Douglas, LIGO T0900393, August 18 2009

Optics Parts

Obtained from Thorlabs, Inc., Newton, NJ 				www.thorlabs.com

Item Number		Description				Quantity  Price	Total

EBS1			Economy 50:50 Beamsplitter	1	   $31.40        $31.40

SM1S3M 		3 mm Optical Spacer for 		1	   $  8.00        $  8.00

beamsplitter in mirror mount

ME1-G01		25.4mm Dia. Round Mirror		2	   $13.40        $26.80

LC1975		Dia. 6.0mm, F=-24.0mm		1	   $22.10        $22.10

Plano Concave Lens

KM100		Kinematic Mirror Mount		3	   $38.70      $116.10

(1 necessary, 2 or 3 convenient)

Other Parts

Rubber Grommet	3/16”x5/16” to hold lens

(from electronics supply store)

Tongue depressor 	11/16” (17 mm) wide with 3/8” hole to hold lens in grommet,

also used to mix epoxy 		(from medical supply store)

Magnets	Ceramic Block 6 mm x 22 mm x 5 mm	(from Home Depot)

Epoxy Glue							(from Home Depot)

2 mm (or 5/64”) hex wrench	to adjust set screw on mirror mount(s)

Heavy duty steel pizza pan	(from Target) 	or 	heavier pizza steel

binder clips	to hold lens mount, etc.				(from Staples)

5 mW red laser pointer (laserpointerpro.com   HK-32001662    $15.99 + shipping)

ALTERNATIVE:		Interferometer Kit from Industrial Fiber Optics

www.i-fiberoptics.com/laser-kits-projects.php		$100 - $129